## Putz 101
Sr.No. | Description | Qty | Price | Total
1 | 24 port 10/100/1000mbps PoE switch with SFP port | 4 | 49500 | 198000
2 | 24 port 10/100/1000mbps Managed switch with SFP port | 4 | 19800 | 79200
3 | Cat 6 Cable Box | 8 | 7800 | 62400
4 | 12 port LIU | 1 | 3500 | 3500
5 | SC pigtail | 12 | 270 | 3240
6 | Fiber patch cord | 2 | 1250 | 2500
7 | Cat 6 24 port patch panel | 8 | 3500 | 28000
8 | Fiber transceiver 1000Base-LX Single mode 10KM SFP | 2 | 4300 | 8600
9 | Cat 6 Keystone | 170 | 180 | 30600
10 | 1 Meter cat 6 patch cord | 170 | 180 | 30600
11 | 3 Meter cat 6 patch cord | 160 | 180 | 28800
12 | 22U-600*800D Network Rack Netrack Loaded with 2 fan, pdu, cable manege, 20 nos Hardware | 2 | 24900 | 49800
13 | 1x12 Sc Adapter Plate with 6 Adapter | 1 | 280 | 280
14 | Face Plate Dual port | 80 | 120 | 9600
15 | Face Plate Single port | 10 | 120 | 1200
16 | Surface Mount Box | 25 | 110 | 2750
Total |  |  |  | 539070
Installation Charges
Sr.No. | Description | Qty | Price | Total
1 | Laying of Cat 6 Cable in meter | 2400 | 40 | 96000
2 | Fiber Splicing per core | 12 | 650 | 7800
3 | Rack Installation | 2 | 2500 | 5000
4 | Punching of Patch panel | 8 | 4800 | 38400
5 | Punching of I/O | 170 | 350 | 59500
Total |  |  |  | 206700

## Bajkya 102
1 | BMS SYSTEM
Sr.No. | Description | Qty | Uom | Price | Total
A | CENTRAL CONTROL LOACTION
Supplying, Installing, Testing & Commissioning of the Central Control Stations consisting of the following
B | Client workstation as per following specifications Processor 1 x Intel Xeon E5‐1620v4 (4‐core, 3.5GHz, 10M) Chipset‐Intel® C612 Express chipset RAM‐1 x 8GB DDR4‐2400 ECC RDIMM (Total 8GB) (Max 512GB, 08 DIMMs) HDDs‐1 x 1TB SATA Ent 7200 RPM 3.5" ODD‐1 x DVD RW NIC‐Two Onboard Intel® i210‐AT Gigabit (10/100/1000 Mbps) Ethernet ports, GPU‐1x GT 710 (2GB) Audio‐RealTek ALC1150 High Definition Audio Onboard Ports‐1 x Audio, 1x header, 6 x USB 3.0, 2x RJ45 LAN ports, 1 PS/2 Chassis‐Mid‐Tower (4x 3.5" internal SAS/SATA HDD Bays) P. Supply‐900W High Efficiency Power Supply Gold Level Certified OS‐1 x Window 10 Prof All necessary approvals as required at the discretion & final directions of Consultants/ Owner. 3 year Comprehensive on‐site warranty | 1 | Each | 375000 | 375000
C | Integrated Building Management Software which is Open to Integrate with DDC Controllers (as per list of approved makes), Middlewares, Third Party Systems etc using any or all of the Open Protocols Like Bacnet, Modbus, and not Limited to the above. The Software Must be more of a Framework with an Enterprise Architecture and a Robust Database. The IBMS Software must have additional 25% License Cost Accommodation above and beyond the IO Summary. | 1 | Set | 780000 | 780000
D | Deployment of Middleware (Hardware) at the Field Level to Integrate with Third Party Systems using Native Protocols. The Middleware should not be a Router/Bridge/Convertor which Cannot Store or Process any Logic. The Middleware must be Intelligent Enough to Act as a Redundant Layer at the Field Level to Showcase Grpahics, Trends and Logic for the Points Mapped on that Middleware. The Middleware Must be a Single Board Computer having Capability to Connect to Multiple Protocols like Bacnet, Modbus, LonWorks, Cbus etc. Following 3rd party equipment's with all necessary accessories, firmware, software patches, drivers, license to complete the package | 2 | Set | 567000 | 1134000
Energy Meters
STP
DG Set
Fire Alarm System
UPS
Lighting Management System
VRF
Spare
E | Brand agnostic, open platform, seamless integration with any make of BMS software, customized analytical tool having Rule Engine, dashboards, reports etc. The software should be able to reside in the customer server. The Analytical Edge Server will be a fanless pc with small form factor for remote support and data sharing 1. Base Analytical software for 500 IO points 2. 05 nos. Rules, 05 nos. Dashboards, 05 nos. Reports to be developed as per clients requirement 3. The above unique tool should provide alerts from safety comfort and ultimately goal of saving energy 4. The software should have good local support for few changes to be incorporated as per clients requirement | 1 | Set | 441000 | 441000
2 | Water leak detection system Supply, Installation,Testing Commissioning of WLD System comprising of following:
Sr.No. | Description | Qty | UoM | Price | Total
A | Water Leak Cable with end connections 10 Mtrs Length | 10 | Each | 1200 | 12000
B | Electronic Sounder 85db for water leak detection | 2 | Each | 4050 | 8100
C | Microprocessor based Water Leak Detection 6 zone Panel with LCD Display. It shall give A.C. Input to WLD cable to avoid oxidation over a period of time.(refer WLD cable technical specification). It shall have zonewise potential free relay output, one common alarm output and one common hooter output. | 2 | Each | 24000 | 48000
D | Supply and laying of multi stranded copper conductors cable, twisted, shielded, FRLS sheathed, flexible steel braided control cables with generally as specified and shown in drawings and shall include the terminations as well on both the ends
| 2C X 1.0 sqmm YRY | 100 | Mtr. | 130 | 13000
| 4C X 1.0 sqmm YRY | 320 | Mtr. | 180 | 57600
| 8C X 1.0 sqmm YRY | 320 | Mtr. | 440 | 140800
3 | FIELD DEVICES
Sr.No. | Description | Qty | UoM | Price | Total
A | TCP/IP based 32 bit DDC controller with in‐built high speed processor, drivers, RTC, with backplate & housing including 100% controller wiring, transformer, small light, 5 A switch socket etc to make the system complete. Each DDC panel not to be loaded more than 50 points
| FF system | 1 | Each
| Tank Level Monitoring | 1 | Each
| HT/LT system | 2 | Each
| Power distribution panel | 6 | Each
B | Supply Installation Testing & commissioning of field devices complete with necessary accessories. Civil/piping related work will be in the respective contractors scope
| Outdoor Temperature + RH sensor + CO2 | 1 | Each | 90000 | 90000
| Space Temperature Sensor | 8 | Each | 15000 | 120000
| Ultrasonic Level transmitter ( 1.7 mts Tank Height) | 3 | Each | 50000 | 150000
| Outside Daylight Sensor | 1 | Each | 11000 | 11000
| Flow Switches for FF Hydrant status | 1 | Each | 15000 | 15000 | 3437400
4 | ACCESS CONTROL
Sr No | Item Description | Qty | UoM | Unit Rate | Total
A | Supply installing testing & commissioning of Include 1 MAC and 64 doors, 1000 cardholders, Access area balancing, N‐persons authorization, Visitor management, Interface Import/Export interface, Routing, Remote door unlock, Card personalization, Default startup configuration for access control, Include 20 video channel integration for 20 doors. | 1 | Lot | 397500 | 397500
B | Supply installing testing & commissioning of Client workstation as per following specifications Processor 1 x Intel Xeon E5‐1620v4 (4‐core, 3.5GHz, 10M) Chipset‐Intel® C612 Express chipset RAM‐1 x 8GB DDR4‐2400 ECC RDIMM (Total 8GB) (Max 512GB, 08 DIMMs) HDDs‐1 x 1TB SATA Ent 7200 RPM 3.5 ODD‐1 x DVD RW RAID‐Onboard SATA3 (6Gbps) via C612 controller should support RAID 0, 1, 10 NIC‐Two Onboard Intel® i210‐AT Gigabit (10/100/1000 Mbps) Ethernet ports GPU‐1x GT 710 (2GB) Audio‐RealTek ALC1150 High Definition Audio Onboard Exp. Slots‐4 PCI‐E 3.0 x16 (run at 16/16/NA/8 or 16/8/8/8), 2 PCI‐E 2.0 x1 (in x4) Ports‐1 x Audio, 1x header, 6 x USB 3.0, 2x RJ45 LAN ports, 1 PS/2 Chassis‐Mid‐Tower (4x 3.5" internal SAS/SATA HDD Bays) P. Supply‐900W High Efficiency Power Supply Gold Level Certified OS‐1 x Window 10 Prof All necessary approvals as required at the discretion & final directions of Consultants/ Owner. 3 year Comprehensive on‐site warranty" | 1 | Each | 279000 | 279000
C | Supply installing testing & commissioning of Intelligent access Controller; 2GB Flash memory; LCD Display; 8 Inputs & 8 Outputs; 8 Wiegand Readers Designed for installing One AMC2, a power supply (APS PSU 60) and two batteries A power supply unit with an integrated battery charging device | 2 | Each | 89400 | 178800
D | Supply installing testing & commissioning of Mifare Card Reader | 16 | Each | 9750 | 156000
E | Supply installing testing & commissioning of Biometric reader for server room and time and attendance | 4 | Each | 53900 | 215600
F | Supply installing testing & commissioning of Contactless Smart Card, 2k bit with 2 application areas | 200 | Each | 360 | 72000
G | Supply installing testing & commissioning of 600# magnetic locks with inbuilt contact | 16 | Each | 6000 | 96000
H | Supply installing testing & commissioning of Recessed type Magnetic Contacts | 16 | Each | 1500 | 24000
I | Supply installing testing & commissioning of Green color emergency break glass Unit | 16 | Each | 3750 | 60000
J | Supply installing testing & commissioning of emergency exit push button at reception table | 4 | Each | 4125 | 16500
Total |  |  |  |  | 4890900
Payment Terms | *** For Supply--50% Advance & 50% against Readiness of Material
Project Lead Time | Delivery-- Material Supply--- 8-10 Weeks & Engineering Services-- 4 Weeks
Other T&C | * Civil work including Chipping, Core Cutting, Digging, Soil Excavation, Painting, Etc shall be in Customer Scope. * Fabrication works if necessary shall be in Customer scope. * Necessary Cable tray supply & Its Installation in Customer scope.
Other T&C | UPS to be arranged near Equipment/Instrument/System by Customer.
Delays | (A) Force Majeure--Except for payment obligations, neither party will be liable to the other for any failure to meet its obligations due to any cause beyond the non-performing party's reasonable control. If the inability to perform continues for longer than 90 days, either party may terminate this Agreement by providing written notice to the other party and Buyer will pay J P Techatronics for products delivered and services performed prior to termination. Force majeure events may include but are not limited to: (1) government embargoes, (2) blockades, (3) seizure or freeze of assets, (4) delays or refusals to grant an export license or the suspension or revocation thereof, (5) any other acts of any government that would limit the ability for contract performance, (6) fires, earthquakes, floods, severe weather conditions, (7) any other acts of God, (8) quarantines or regional medical crises, (9) labor strikes or lockouts, (10) riots, strife, insurrection, civil disobedience, armed conflict, terrorism or war, declared or not (or impending threat of any of the foregoing, if such threat might reasonably be expected to cause injury to people or property), (11) shortages or inability to obtain materials or components and (12) inability or refusal by Buyer's directed third party suppliers to provide J P Techatronics parts, services, manuals, or other information necessary to the goods or services to be provided by J P Techatronics under this Agreement. (B) Order Adjustment-- If a force majeure event causes a delay, then the date of performance will be extended by the period of time that the non-performing party is actually delayed or for any other period as the parties may agree in writing.
INSPECTION AND ACCEPTANCE | Unless other acceptance criterion has been agreed to by the Parties under this Agreement the Buyer will inspect Equipment within a reasonable period after delivery not to exceed 15 calendar days. Equipment will be presumed accepted unless J P Techatronics receives written notice of rejection explaining the basis for rejection within the same timeframe. J P Techatronics will have a reasonable opportunity to repair or replace rejected Equipment, at its option. J P Techatronics assumes shipping costs in an amount not to exceed normal surface shipping charges to J P Techatronics's designated facility for the return of properly rejected Equipment. Following initial delivery, the party initiating shipment will bear the risk of loss or damage to Equipment in transit. If J P Techatronics reasonably determines that rejection was improper, Buyer will be responsible for all expenses caused by the improper rejection.

## Riva Resort 103
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Identix K90 Biometric Fingerprint And Card Reader Time & Attendance With Access Control System Push Data Technology & Warranty One Year | 1 | 14990 | 14990
2 | Battery Backup with 7 AH Battery Backup Kit | 1 | 2500 | 2500
3 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 22490
GST 9% |  |  |  | 2024.1
GST 9% |  |  |  | 2024.1
Grand Total |  |  |  | 26538.2

## Riva Resort 104
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | IDEMIA Morpho Biometric Reader with standard software, 500 users | 1 | 69600 | 69600
2 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 74600

## Vaibhav 105
Option 1
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua 5 MP Bullet Camera, 3.6mm | 3 | 10120 | 30360 | 10120
2 | Dahua 5 MPDome Camera | 1 | 10330 | 10330 | 10330
3 | Dahua 16 Ch NVR | 1 | 15420 | 15420 | 15420
4 | POE Switch 08 Port 1/1000 MBPS) GIGA | 1 | 11500 | 11500
5 | WD Purple Surveillance Hard Disk 4 TB | 1 | 11900 | 11900 | 11900
6 | Network Rack 4 U | 1 | 3990 | 3990
7 | RJ 45 Connector With Crimping etc complete | 1 | 140 | 140
8 | CAT 6 Cable per mtr | 150 | 40 | 6000
9 | CAT Cable Laying with Covering PVC | 120 | 60 | 7200
10 | UPS 1 KVA | 1 | 5000 | 5000
11 | Spike Guard | 1 | 600 | 600
12 | INSTALLATION TESTING COMMISSIONING | 1 | 4800 | 4800
TOTAL |  |  |  | 107240
Option 2
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua 5 MP Bullet Camera, 3.6mm | 5 | 10120 | 50600
2 | Dahua 5 MPDome Camera | 1 | 10330 | 10330
3 | Dahua 16 Ch NVR | 1 | 15420 | 15420
4 | POE Switch 08 Port 1/1000 MBPS) GIGA | 1 | 11500 | 11500
5 | WD Purple Surveillance Hard Disk 4 TB | 1 | 11900 | 11900
6 | Network Rack 4 U | 1 | 3990 | 3990
7 | RJ 45 Connector With Crimping etc complete | 1 | 140 | 140
8 | CAT 6 Cable per mtr | 200 | 40 | 8000
9 | CAT Cable Laying with Covering PVC | 160 | 60 | 9600
10 | UPS 1 KVA | 1 | 5000 | 5000
11 | Spike Guard | 1 | 600 | 600
12 | INSTALLATION TESTING COMMISSIONING | 1 | 4800 | 4800
TOTAL |  |  |  | 131880
If required extra CAT 6 Cable per mtr to be charged @ 40/- per mtr + GST
If required extra CAT Cable Laying with Covering PVC to be charged @ 60/- per mtr + GST
If required:-
1)Display 32'' @ 32990 + GST
2) HDMI cable (3mtrs) @ 550/- + GST

## R K Engineering Works 106
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 4MP IP Starlight Fixed Lens Bullet ,with inbuilt SD card Slot POE, IP67 Tripwire/Perimeter | 2 | 8900 | 17800 |  | 9320 | I-HIB4PI-LS
2 | Honeywell NVR Professional Series 5CH | 1 | 8820 | 8820 | 8820 |  | I-HNVR-1105
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500
5 | HDMI cable (3mtrs) | 1 | 550 | 550
6 | RJ 45 Connector With Crimping etc complete | 6 | 175 | 1050
7 | INSTALLATION TESTING COMMISSIONING | 1 | 4000 | 4000
TOTAL |  |  |  | 49220
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
In lieu of
1) Honeywell 4 MP verifocal Bullet with inbuilt Audio 2.8 -12 MM verifocal lens Tripwire/Perimeter @17360/- + GST | [5 empty] | 17360 | I-HIB5PI-VS

## Raj Housing 107
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Bosh 12/30W Wooden Cabinet Speaker | 4 | 4500 | 18000
2 | Plana 240W Mixing Amplifier | 1 | 48000 | 48000
3 | Bosh or Similar Table Micro Phone | 1 | 6900 | 6900
4 | INSTALLATION TESTING COMMISSIONING | 1 | 6000 | 6000
TOTAL |  |  |  | 78900
Audio cabling to be charged as actualls @ 100 per mtr + GST

## Arus Turkney Projects PvtLtd108
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | KNX Messung 4 fold analog 0-10V dimmer | 2 | 45000 | 90000
2 | KNX 16Ch Relay | 1 | 63000 | 63000
3 | Honeywell Motion Sensor | 2 | 8700 | 17400
4 | Zennio 11 zone touch keypad | 1 | 79000 | 79000
5 | Gateway for Zennio touch keypad | 1 | 45000 | 45000
6 | 640mA KNX Power Supply | 1 | 39900 | 39900
7 | KNX Programming Charges | 1 | 45000 | 45000
8 | KNX Interfacing Charges | 1 | 45000 | 45000
9 | INSTALLATION TESTING COMMISSIONING | 1 | 25000 | 25000
TOTAL |  |  |  | 449300
KNX Cable to be charged as actuals @ 120/- + GST

## Patrick 109
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Dahua/W Box 2 MP IP Bullet Camera | 10 | 3990 | 39900 |  | 4300
2 | Dahua/ Wbox 16 CH NVR Professional Series | 1 | 15900 | 15900 | 13570
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Switch D link or Secue Eye or Similar | 1 | 9900 | 9900
5 | RJ 45 Connector With Crimping etc complete | 22 | 175 | 3850
6 | INSTALLATION TESTING COMMISSIONING | 1 | 9900 | 9900
TOTAL |  |  |  | 84950
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Dahua/ Wbox 4MP IP Bullet Camera @6260/- + GST | [5 empty] | 6260

## R K Enginerring Works 110
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Dahua 2 MP IP Bullet Camera | 2 | 4300 | 8600
2 | Dahua 4 CH NVR Professional Series | 1 | 5860 | 5860 | 5860
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Switch D link or Secue Eye or Similar | 1 | 9500 | 9500
5 | RJ 45 Connector With Crimping etc complete | 6 | 175 | 1050
6 | INSTALLATION TESTING COMMISSIONING | 1 | 4000 | 4000
TOTAL |  |  |  | 34510
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Dahua 4MP IP Bullet Camera @6260/- + GST

## Patrik 111
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 2MP IP Fixed Lens Bullet Camera with inbuilt,SD Card Slot | 10 | 6780 | 67800 | 6780
2 | Honeywell NVR Professional Series 5CH | 1 | 11880 | 11880 | 11880
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500
6 | RJ 45 Connector With Crimping etc complete | 22 | 175 | 3850
7 | INSTALLATION TESTING COMMISSIONING | 1 | 9900 | 9900
TOTAL |  |  |  | 110430
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Honeywell 4MP IP Starlight Fixed Lens Bullet ,with inbuilt SD card Slot POE, IP67 Tripwire/Perimeter @ 8900/-+GST

## Patrik 112
Option 1
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua / W Box 5MP Bullet Camera | 8 | 2500 | 20000 |  | 2250
2 | Dahua/W Box 8 CH DVR, Professional series | 1 | 9630 | 9630
3 | BNC Connector | 16 | 60 | 960
4 | Power Connector | 8 | 45 | 360
5 | Power Supply | 1 | 1890 | 1890
6 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
7 | Enclosure with mounting | 8 | 100 | 800
8 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000 |  | 6000
TOTAL |  |  |  | 48140
Cabling with Cat 6 with casing, cabling, laying @ 95/- + GST per mtr as actuals
If required:-
1)Display 19'' @7900 + GST
2) Network Rack @ 2900/- + GST
3) Spike Board @ 600/- + GST
Option 2
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Honeywell 5MP Bullet Camera | 8 | 2540 | 20320 | 2540
2 | Honeywell 8 CH DVR, Professional series | 1 | 13700 | 13700 | 13700
3 | BNC Connector | 16 | 60 | 960
4 | Power Connector | 8 | 45 | 360
5 | Power Supply | 1 | 1890 | 1890
6 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
7 | Enclosure with mounting | 8 | 100 | 800
8 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 52530
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua / W Box 5MP Bullet Camera | 8 | 2250 | 18000
2 | Dahua/W Box 8 CH DVR, Professional series | 1 | 9630 | 9630
3 | BNC Connector | 16 | 60 | 960
4 | Power Connector | 8 | 45 | 360
5 | Power Supply | 1 | 1890 | 1890
6 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
7 | TESTING COMMISSIONING | 1 | 4000 | 4000
8 | Port forwarding and network interfacing | 1 | 1800 | 1800
TOTAL |  |  |  | 42140
If required:-
1)Display 19'' @7900 + GST
2) Network Rack @ 2900/- + GST
3) Spike Board @ 600/- + GST
1 KVA ONLINE UPS BUILT IN BATTERY

## Suresh 113
Option 1
SR NO | ITEM DESCRIPTION | QTY | DISCOUNTED PRICE | AMOUNT
1 | Dahua / W Box 5MP Dome Camera | 2 | 2400 | 4800 |  | 2340
2 | Dahua/W Box 4 CH DVR, Professional series | 1 | 5900 | 5900 |  | 5900
3 | BNC Connector | 4 | 60 | 240
4 | Power Connector | 2 | 45 | 90
5 | Power Supply | 1 | 900 | 900
6 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
7 | Enclosure with mounting | 2 | 100 | 200
8 | INSTALLATION TESTING COMMISSIONING | 1 | 2000 | 2000
TOTAL |  |  |  | 19630
Cabling RJ 59 copper + 3 / Cat 6 with casing, cabling, laying @ 95/- + GST per mtr as actuals
If required:-
1)Display 19'' @7900 + GST
2) Network Rack @ 2900/- + GST
3) Spike Board @ 600/- + GST
Option 2
SR NO | ITEM DESCRIPTION | QTY | DISCOUNTED PRICE | AMOUNT
1 | Dahua/W Box 2 MP IP Dome Camera | 2 | 3690 | 7380 | 4240
2 | Dahua/ Wbox 4 CH NVR Professional Series | 1 | 5860 | 5860 |  | 5860
3 | WD Purple Surveillance Hard Disk 1 TB | 1 | 4200 | 4200
4 | 4 + 2 Port POE Switch D link or Secue Eye or Similar | 1 | 7500 | 7500
5 | RJ 45 Connector With Crimping etc complete | 6 | 160 | 960
6 | INSTALLATION TESTING COMMISSIONING | 1 | 4000 | 4000
TOTAL |  |  |  | 29900
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
Note : Avove prices are considered as discounted prices of 20%

## DMC College 114
Option 1
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Identix K90 Biometric Fingerprint And Card Reader Time & Attendance With Access Control System Push Data Technology & Warranty One Year | 1 | 14990 | 14990
2 | Battery Backup with 7 AH Battery Backup Kit | 1 | 2500 | 2500
3 | Basic Software | 1 | 5000 | 5000
4 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 27490
GST 9% |  |  |  | 2474.1
GST 9% |  |  |  | 2474.1
Grand Total |  |  |  | 32438.2
Option 2
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua or Similar Face recognition access controller Biometric Device IP - Face / Finger / Card, 6000 users. 2MP wide - angle dual lens camera, support DWDR white light fill light and IR fill light. | 1 | 29000 | 29000 | 20520 | 30780
2 | Basic Software Chrges | 1 | 5000 | 5000
3 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 39000
GST 9% |  |  |  | 3510
GST 9% |  |  |  | 3510
Grand Total |  |  |  | 46020
Option 3
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | IDEMIA Morpho Biometric Reader with standard software, 500 users | 1 | 69600 | 69600
2 | Basic Software | 1 | 9000 | 9000
3 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 83600
GST 9% |  |  |  | 7524
GST 9% |  |  |  | 7524
Grand Total |  |  |  | 98648

## Pranav Bajaj 115
A) Boom Barrier System
Option 1
Sr. No | Item Description | QTY | PRICE | AMOUNT
1 | FAAC special electromechanical boom barrier . Maximum beam length up to 5 mtr. Foundation Plate with J hooks without LED on Boom | 3 | 180000 | 540000
2 | Y stand for boom rest | 3 | 4800 | 14400
3 | Photocell in Pair | 3 | 6000 | 18000
4 | Remote set (Transmitter & Receiver) | 3 | 9000 | 27000
5 | Push Button | 3 | 3000 | 9000
6 | Installation Charges of boom barrier system without civil and electrical work | 3 | 25000 | 75000
Total |  |  |  | 683400
Freight, packaging and Forwarding Charges @ 20000/-
Option 2
Sr. No | Item Description | QTY | PRICE | AMOUNT
1 | ESSL ZKT Boom Barrier 6 mtr | 3 | 96000 | 288000
2 | Y stand for boom rest | 3 | 4800 | 14400
3 | Photocell in Pair | 3 | 6000 | 18000
4 | Remote set (Transmitter & Receiver) | 3 | 4500 | 13500
5 | Installation Charges of boom barrier system without civil and electrical work | 3 | 25000 | 75000
Total |  |  |  | 408900
Freight, packaging and Forwarding Charges @ 20000/-
If required
1) LED on Boom Arm @ 12000/- + GST
2) uhf5 reader meter @ 46000/- + GST
B) Sliding Gate Automation (per gate) Total gates 12
Sr. No | Item Description | QTY (per gate) | PRICE | AMOUNT
1* | FAAC sliding gate motor. Maximum leaf weight up to 500 kg. | 1 | 69000 | 69000
2 | Photocell in Pair | 1 | 6000 | 6000
3 | Remote set (Transmitter & Receiver) | 1 | 9000 | 9000
4 | Push Button | 1 | 3000 | 3000
5 | Photocell stand in pair | 1 | 9600 | 9600
6 | Installation Charges of sliding gate Motor without civil and electrical work | 1 | 25000 | 25000
Total |  |  |  | 121600
Freight, packaging and Forwarding Charges @ 20000/-
Rack and Rack fitting (Per Mtr.) @990/- + GST to be charged as actuals
In Lieu of
1) Special Design Flush Type C4000I INTEGR. SLIDING GATE 24V GEARMOTOR @96000/- + GST
C) Swing Gate Operator (Per gate)
Sr. No | Item Description | QTY (Per gate) | PRICE | AMOUNT
1* | FAAC Swing gate operator RH R1 | 1 | 48000 | 48000
2* | Controller for swing gate opertaor | 1 | 24000 | 24000
3* | Enclosure for controller | 1 | 3600 | 3600
4 | SAFECODER FOR 412 OPERATOR (Optional if Require) | 1 | 9300 | 9300
5 | Photocell in Pair | 1 | 6000 | 6000
6 | Remote set (Transmitter & Receiver) | 1 | 9000 | 9000
7 | Push Button | 1 | 3000 | 3000
8 | Photocell stand in pair | 1 | 9600 | 9600
9 | Installation Charges of swing gate operator without civil and electrical work | 1 | 25000 | 25000
Total |  |  |  | 137500
Freight, packaging and Forwarding Charges @ 20000/-
In Lieu of 1, 2, 3 (Altogether)
FAAC Make I integrated swing gate operator Singal leaf with Control Board @180000/- + GST
CCTV for Site Layout
1) Site CCTV
Sr. No | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Honeywell 4 MP Motorized Bullet Varifocal Motorized Lens 2.8-12mm, IH+265/ H.265/H.264 ,120dB WDR,Smart IR Range Up to 80 m Built-in Mic,SD Card Slot, Reset Button, ,Full Metal Housing,IP 67,IK10 | 2 | 17360 | 34720 | [8 empty] | 17360
2 | Honeywell 5MP IP Fixed Lens BulletCamera Cam, Built in Mic, Smart IR Range: Up to 50M POE, IP67,Tripwire/Perimeter | 4 | 9320 | 37280 | [8 empty] | 9320
3 | Honeywell NVR Professional Series 20CH | 1 | 24400 | 24400 | [8 empty] | 14120 | 24400
4 | WD Purple Surveillance Hard Disk 4 TB | 1 | 9000 | 9000
5 | POE switch 4+2 channel (10/100/1000) | 4 | 5300 | 21200
6 | RJ 45 Connector With Crimping etc complete | 20 | 175 | 3500
7 | Network rack 2u | 4 | 2900 | 11600
8 | Supply and laying of cat 6 cables through PVC pipe / casing caping | 750 | 95 | 71250
9 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 221950
If required extra Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1) Spike Board @ 600/- + GST
2) HDMI cable (3mtrs) @ 550/- + GST
3) Display Monitor 21 inch @ 29000/- + GST
4 )Additional PDUs
2) Villa CCTV (Per Villa)
Sr. No | ITEM DESCRIPTION | QTY (per villa) | PRICE | AMOUNT
1 | Honeywell 2MP IP Fixed Lens Bullet Camera with inbuilt,SD Card Slot | 7 | 6780 | 47460
2 | Honeywell NVR Professional Series 10CH | 1 | 11880 | 11880 | [8 empty] | 11880
3 | WD Purple Surveillance Hard Disk 2TB | 1 | 5500 | 5500
4 | 4+2 Poe Switch(10/100/1000) | 2 | 5300 | 10600 | [8 empty] | 5300 | 11800 | (8+2)
5 | RJ 45 Connector With Crimping etc complete | 20 | 175 | 3500
6 | Network rack 2u | 2 | 2900 | 5800
7 | Supply and laying of cat 6 cables through PVC pipe / casing caping | 65 | 95 | 6175
8 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 99915
If required extra Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1) Spike Board @ 600/- + GST
2) HDMI cable (3mtrs) @ 550/- + GST
3) Display Monitor 21 inch @ 29000/- + GST
4 )Additional PDUs
Curtain Automation (Per Villa)
1. Curtains for Living Room
1.1 Automation for 8.92mtr hall curtain
Sr. No | Make | ITEM DESCRIPTION | QTY (per Villa) | PRICE | Installation / Laying Charges | AMOUNT
1.11 | TorqAOK | Curtain Motor for 27ft drapering curtain (sheer + main curtain) | 3 | 18000 | 4000 | 66000
1.12 |  | Wifi connectivity buildin card | 3 | 3000 | 900 | 11700
1.13 |  | Curtain Rail Driving Belt Track etc complete assembly | 27 | 960 | 150 | 29970
1.14 | 2 zone remote |  | 1 | 9000 |  | 9000
TOTAL | [5 empty] | 116670
1.2 Automation for 5.79 mar hall curtain
Sr. No | Make | ITEM DESCRIPTION | QTY (per Villa) | PRICE | Installation / Laying Charges | AMOUNT
1.21 | TorqAOK | Curtain Motor for 18 ft drapering curtain (sheer + main curtain) | 1 | 18000 | 4000 | 22000
1.22 |  | Wifi connectivity buildin card | 1 | 3000 | 900 | 3900
1.23 |  | Curtain Rail Driving Belt Track etc complete assembly | 18 | 960 | 150 | 19980
1.24 | 2 zone remote |  | 1 | 9000 |  | 9000
TOTAL | [5 empty] | 54880
2 Curtains for Master Bedroom
2.1 Automation for 3.75-4m balcony/ terrace curtain
SR NO | Make | ITEM DESCRIPTION | QTY (per Villa) | PRICE | Installation / Laying Charges | AMOUNT
2.11 | TorqAOK | Curtain Motor for 12 ft drapering curtain (sheer + main curtain) | 1 | 18000 | 4000 | 22000
2.12 |  | Wifi connectivity buildin card | 1 | 3000 | 900 | 3900
2.13 |  | Curtain Rail Driving Belt Track etc complete assembly | 12 | 960 | 150 | 13320
2.14 | 3 zone remote |  | 1 | 12000 |  | 12000
TOTAL | [5 empty] | 51220
2.2 Automation for Window curtain 1.75 m
Sr. No | Make | ITEM DESCRIPTION | QTY (per Villa) | PRICE | Installation / Laying Charges | AMOUNT
2.21 | TorqAOK | Curtain Motor for 6 ft drapering curtain (sheer + main curtain) | 1 | 18000 | 4000 | 22000
2.22 |  | Wifi connectivity buildin card | 1 | 3000 | 900 | 3900
2.23 |  | Curtain Rail Driving Belt Track etc complete assembly | 6 | 960 | 150 | 6660
2.24 | 3 zone remote |  | 1 | 12000 |  | 12000
TOTAL | [5 empty] | 44560
2.3 Automation for Window curtain 1.75 m
Sr. No | Make | ITEM DESCRIPTION | QTY (per Villa) | PRICE | Installation / Laying Charges | AMOUNT
2.31 | TorqAOK | Curtain Motor for 6 ft drapering curtain (sheer + main curtain) | 1 | 18000 | 4000 | 22000
2.32 |  | Wifi connectivity buildin card | 1 | 3000 | 900 | 3900
2.33 |  | Curtain Rail Driving Belt Track etc complete assembly | 6 | 960 | 150 | 6660
2.34 | 3 zone remote |  | 1 | 12000 |  | 12000
TOTAL | [5 empty] | 44560
Audio Solution
Sr. No | ITEM DESCRIPTION | QTY (per Villa) | PRICE | AMOUNT
1 | Marantz Ampliflier/ AV receiver 5x85Watts (6 ohms, 1%), Wifi, HEOS,, Blutooth, HDMI 2.0 (4k fullrate), 6+1in / 1out HDMI (EARC and ALLM), HDCP2.2, Airplay, Spotify Connect, HEOS, Alexa, Gogle Assistant | 1 | 125000 | 125000
2 | Fonestar Sonora Rock Speaker All weather | 2 | 25000 | 50000
OR
2 | Sound Tube all weather outdoor speaker SM31J-E2 | 2 | 25000 | 50000
3 | Terminations (lum sum) | 1 | 5000 | 5000
4 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
Total |  |  |  | 185000
QED Core Cable to be charged as actuals @400/- per mtr
Lighting Solution
Switching Matrix
Sr.No. | Floor Location | Area | Board | Light Circuit | Light Circuit 2-Way | Fan Circuit | Fan Circuit 2-Way | AC Circuit | Curtain Circuit | Board to Board Curcuit | Gyser Circuit | Exhaust Circuit
1 | TypeC-GF | Verandah (MD) | SB-41 | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
2 |  | Foyer | SB-37 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-38 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | TypeC-GF | Bedroom-1 | SB-27 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | SB-28 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | SB-29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4 |  | Toilet-1/Shower | SB-32 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
|  |  | SB-35 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
|  |  | SB-31 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | TypeC-GF | Dining room | SB-16 | 2 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
|  |  | SB-18 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-19 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-20 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
6 |  | Living room | SB-22 | 3 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0
|  |  | SB-23 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
|  |  | SB-24 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
7 |  | Verandah | SB-26 | 6 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8 | TypeC-GF | Kitchen | SB-12 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
9 |  | Utility | SB-8 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
10 |  | Staff | SB-7 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
11 |  | Toilet | SB-4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
12 |  | Pool Filter Room | SB-1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
13 | TypeC-GF | Staircase | SB-39 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
14 |  | Pw.Room | SB-40 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | TypeC-FF | Bedroom-2 | SB-3 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | SB-4 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | SB-5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
16 |  | Toilet-2/Shower | SB-7 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
|  |  | SB-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
17 | TypeC-FF | Staircase | SB-1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  | Passage | SB-2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-2A | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | TypeC-FF | Bedroom-3 | SB-11 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-12 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | SB-14 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
20 |  | Toilet | SB-18 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1
21 | TypeC-FF | Master Bedroom | SB-19 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-20 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-21 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  |  | SB-22 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
|  |  | SB-23 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
|  |  | SB-24 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
22 |  | Toilet | SB-25 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1
|  |  | SB-25A | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SB-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
|  |  | S-27 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  | Covered Terrace | SB-18 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
24 | TypeC-OHT | Roof | SB-1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lighting Automation BOQ
Option 1 Touch art cystal glass luxury switch
Sr. No | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Touch art cystal glass luxury 1 zone Switch | 12 | 9380 | 112560 | [8 empty] | 1=12
2 | Touch art cystal glass luxury 2 zone switch | 6 | 10640 | 63840 | [8 empty] | 2=6
3 | Touch art cystal glass luxury 3+1 swich | 17 | 20300 | 345100 | [8 empty] | 3+1= 17
4 | Touch art cystal glass luxury 5+2 switch | 6 | 23240 | 139440 | [8 empty] | 5+2=6
5 | Touch art cystal glass luxury Digital AC / Gyeser Thermostatic switch | 11 | 17360 | 190960 | [8 empty] | AC=6
6 | INSTALLATION TESTING COMMISSIONING | 1 | 25000 | 25000
TOTAL |  |  |  | 876900
If swiching required for control
1) Touch art cystal glass luxury Curtain switch 2 zone @ 20300/- + GST
2) Touch art cystal glass luxury Curtain switch 1 zone @ 10640/- + GST
Option 2 Backhand Wifi Module (Behind normal switches to be installed by client)
Sr. No | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Panasonic IOT Wifi Module for 1 switch controller | 17 | 3900 | 66300 | [8 empty] | 1=12
2 | Panasonic IOT Wifi Module for 2 switch controller | 6 | 4600 | 27600 | [8 empty] | 2=6
3 | Panasonic IOT Wifi Module for 6 switch controller | 23 | 6600 | 151800 | [8 empty] | 6=23
4 | Panasonic IOT Wifi Module for AC / Gyeser switch controller | 11 | 3900 | 42900 | [8 empty] | AC=6
5 | INSTALLATION TESTING COMMISSIONING | 1 | 25000 | 25000
TOTAL |  |  |  | 313600
PAYMENT TERMS AND CONDITIONS: 1. Warranty will be standard one year. Warranty period would begin 3 months after delivery of material, or after system start up (defined as in, Control system Processor being functional) - Which EVER is EARLIER. 2. Payment for entire project will be 75% advance and balance before delivery against Performa Invoice before dispatch of material through Cheque/RTGS. 3. For Local Commissioning and Programming charges (in INR) to be paid as per 2. 4.GST extra as applicable. 5. Validity of Quotation is 1 . 6. Delivery will be 20 - 24 weeks after receipt of confirmed order and advance. 7. Your electrical contractor using the wiring diagram provided by us will do installation wiring, Conducting, Panel Mounting on wall etc. After that we will do the programming and commissioning. 8. Please note that as part of commissioning, 3 free visits including (i)a pre-commissioning visit, (ii)commissioning visit – at the end of which system start up would be done (iii) Scene setting visit, are included. However, any extra visits for phase wise commissioning (if site is not ready for. E.g.), or for extra scene setting visits, will be charged per visit. Please note the commissioning visit would only commence once pre commissioning checklist (given by us, which includes necessary conditions for us to begin work) is signed by customer representative. 9. Please note that in case for some reason, commissioning could not be completed within six months of delivery of material (For e.g due to site being on hold or due to material such as lighting or displays not procured, for us to finish system installation) , extra charges for system commissioning, over and above the commissioning amount finalized , would be applicable. 10. Orders finalized at a value must have material delivered/invoiced with in a period of six months from order finalization. Rate finalized would be valid only for material delivered within the period of six months from order. 11. If payment not received on time interest @ 15% will incurred per annum. 12. Any extra item if required to be charged as actual. 13. Warranty as per manufacturer not valid in case of surges, fluctuation, lightening etc. to be claimed directly with the manufacturer without involving JP TECHATRONICS. 14. Solution done as per recommendation and request by client hence, JP TECHATRONICS or its employees should not be held responsible for any kind of malfunctioning of the system for any reasons. 15. Service calls post installation to be charged as actuals

## Shubhada 116
Option 1
IP Camera
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 2MP IP Fixed Lens Bullet Camera with inbuilt,SD Card Slot | 5 | 6780 | 33900 | 6780
2 | Honeywell NVR Professional Series 5CH | 1 | 8800 | 8800 | 8820
3 | WD Purple Surveillance Hard Disk 1 TB | 1 | 3500 | 3500
4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500
6 | RJ 45 Connector With Crimping etc complete | 12 | 175 | 2100
7 | Supply and laying of cat 6 cables through PVC pipe / casing caping | 180 | 95 | 17100
8 | Enclosure with mounting | 5 | 100 | 500
9 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 86400
GST @ 18% EXTRA
If required extra Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Honeywell 2MP IP Verifocal Bullet Camera with inbuilt,SD Card Slot @ 13300/- + GST
Option 2
Analog Camera
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 2MP Fixed Lens Bullet Camera | 5 | 2620 | 13100 |  | 2620
2 | Honeywell 8 CH DVR, Professional series | 1 | 5800 | 5800 |  | 5800
3 | BNC Connector | 10 | 60 | 600
4 | Power Connector | 5 | 45 | 225
5 | Power Supply | 1 | 1890 | 1890
6 | WD Purple Surveillance Hard Disk 1 TB | 1 | 3500 | 3500
7 | Enclosure with mounting | 5 | 100 | 500
8 | Cabling RJ 59 copper + 3 / Cat 6 with casing, cabling, laying | 180 | 80 | 14400
9 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 49015
GST @ 18% EXTRA
If required extra Cabling RJ 59 copper + 3 / Cat 6 with casing, cabling, laying to be charged as actuals @ 80/- (per mtr) + GST
If required:-
1)Display 19'' @7900 + GST
2) Network Rack @ 2900/- + GST
3) Spike Board @ 600/- + GST
In lieu of
1) Honeywell 2MP Verifocal Bullet Camera @ 5650/- + GST
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua / WBOX 2MP Verifocal Bullet Camera | 5 | 6100 | 30500
2 | Dahua / WBOX 8 CH DVR, Professional series | 1 | 5800 | 5800
3 | BNC Connector | 10 | 60 | 600
4 | Power Connector | 5 | 45 | 225
5 | Power Supply | 1 | 1890 | 1890
6 | WD Purple Surveillance Hard Disk 1 TB | 1 | 3500 | 3500
7 | Enclosure with mounting | 5 | 100 | 500
8 | Cabling RJ 59 copper + 3 / Cat 6 with casing, cabling, laying | 180 | 80 | 14400
9 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 66415

## Raunak 117
Option 1
IP Camera
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 2MP IP Fixed Lens Bullet Camera with inbuilt,SD Card Slot | 5 | 6780 | 33900
2 | Honeywell NVR Professional Series 5CH | 1 | 8800 | 8800
3 | WD Purple Surveillance Hard Disk 1 TB | 1 | 3500 | 3500
4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500
5 | RJ 45 Connector With Crimping etc complete | 12 | 175 | 2100
6 | Enclosure with mounting | 5 | 100 | 500
7 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 69300
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Honeywell 2MP IP Verifocal Bullet Camera with inbuilt,SD Card Slot @ 13300/- + GST
Option 2
Analog Camera
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 2MP Fixed Lens Bullet Camera | 5 | 2620 | 13100
2 | Honeywell 8 CH DVR, Professional series | 1 | 5800 | 5800
3 | BNC Connector | 10 | 60 | 600
4 | Power Connector | 5 | 45 | 225
5 | Power Supply | 1 | 1890 | 1890
6 | WD Purple Surveillance Hard Disk 1 TB | 1 | 3500 | 3500
7 | Enclosure with mounting | 5 | 100 | 500
8 | INSTALLATION TESTING COMMISSIONING | 1 | 9000 | 9000
TOTAL |  |  |  | 34615
If required:-
1)Display 19'' @7900 + GST
2) Network Rack @ 2900/- + GST
3) Spike Board @ 600/- + GST
In lieu of
1) Honeywell 2MP Verifocal Bullet Camera @ 5650/- + GST

## El Shaddai 118
SR NO | ITEM DESCRIPTION | PRICE
1 | ViewSonic’s is an advanced 4,500 ANSI Lumens WUXGA ultra short throw installation projector | 414000
2 | ALR screen 110'' | 96000
3 | INSTALLATION TESTING COMMISSIONING | 25000

## El Shaddai 119
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Fuji 10 Kva UPS | 1 | 117000 | 117000 | 65000
2 | 26 AH Battery | 16 | 3600 | 57600 | 2450 | 3450
3 | Rack | 1 | 5000 | 5000
4 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 184600

## NInad 120
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | CP Plus / Dahua 2MP Bullet Camera | 4 | 1990 | 7960 | 1990 | 1800
2 | CP Plus / Dahua 4 CH DVR, Professional series | 1 | 4000 | 4000 |  | 4000
3 | BNC Connector | 8 | 60 | 480
4 | Power Connector | 4 | 45 | 180
5 | Power Supply | 1 | 1890 | 1890
6 | WD Purple Surveillance Hard Disk 1 TB | 1 | 3500 | 3500
7 | Enclosure with mounting | 4 | 100 | 400
8 | INSTALLATION TESTING COMMISSIONING | 1 | 2000 | 2000
TOTAL |  |  |  | 20410
Cabling RJ 59 copper + 3 / Cat 6 with casing, cabling, laying to be charged as actuals @ 90/- (per mtr) + GST
If required:-
1)Display 19'' @7900 + GST
2) Network Rack @ 2900/- + GST
3) Spike Board @ 600/- + GST

## Achila Trindade 121
Option 1
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Honeywell 4MP IP Starlight Fixed Lens Bullet ,with inbuilt SD card Slot | 14 | 6960 | 97440 |  | 8320 | I-HIB4PI-LS
2 | Honeywell 4 MP verifocal Bullet with inbuilt Audio 2.8 -12 MM verifocal lens | 1 | 14910 | 14910 |  | 17100 | I-HIB5PI-VS
3 | Honeywell 4 MP PTZ | 1 | 59700 | 59700 |  | 65740 | I-HIP4PI-S23X
4 | Honeywell NVR Professional Series 20CH | 1 | 13980 | 13980 |  | 13980
5 | WD Purple Surveillance Hard Disk 4 TB | 1 | 9000 | 9000
6 | 8+2 port 10/100/1000 giga POE switch D link or Secue Eye or Similar | 3 | 9960 | 29880 |  | 11900
7 | RJ 45 Connector With Crimping etc complete | 40 | 168 | 6720
8 | Enclosure with mounting | 16 | 150 | 2400
9 | Network rack 4u | 1 | 3990 | 3990
10 | Network rack 2u | 2 | 2900 | 5800
11 | Cat 6 cable 305 mtr box | 1 | 7950 | 7950
12 | INSTALLATION TESTING COMMISSIONING | 1 | 18000 | 18000
TOTAL |  |  |  | 269770
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) HDMI cable (3mtrs) @ 550/- + GST
4) Conduiting (not civil work) with FR conduit and laying of cable @100/- per mtr plus GST
Option 2
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | CP Plus / Dahua 5MP IP Fixed Lens Bullet IR Range of 30 Mtrs, IP67, PoE | 14 | 7630 | 106820 | 7632
2 | CP Plus / Dahua 5 MP verifocal Bullet Motorized Registered 1/2.7” 2.7 mm–13.5 mm 60 m 120 dB Dual 0.008 Lux @ F1.5 1/1 1/1 Tripwire; intrusion IP67 | 1 | 19600 | 19600 | 19600
3 | CP Plus / Dahua 4 MP PTZ | 1 | 86630 | 86630 | 86630
4 | CP Plus / Dahua NVR Professional Series 32CH | 1 | 19800 | 19800 | 19800
5 | WD Purple Surveillance Hard Disk 4 TB | 1 | 9000 | 9000
6 | 8+2 port 10/100/1000 giga POE switch D link or Secue Eye or Similar | 3 | 11900 | 35700
7 | RJ 45 Connector With Crimping etc complete | 40 | 175 | 7000
8 | Enclosure with mounting | 16 | 100 | 1600
9 | Network rack 4u | 1 | 3990 | 3990
10 | Network rack 2u | 2 | 2900 | 5800
11 | Cat 6 cable 305 mtr box | 1 | 8400 | 8400
12 | INSTALLATION TESTING COMMISSIONING | 1 | 16000 | 16000
TOTAL |  |  |  | 320340
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) HDMI cable (3mtrs) @ 550/- + GST
4) Conduiting with FR conduit laying of cable @100/- per mtr plus GST
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
Option 3
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua 4MP IP Fixed Lens Bullet | 14 |  | 0
2 | Dahua 4 MP verifocal Bullet | 1 |  | 0
3 | Dahua 4 MP PTZ | 1 | 54180 | 54180 | 54180
4 | Dahua NVR Professional Series 32CH 2 sata | 1 | 38100 | 38100 | 38100
5 | WD Purple Surveillance Hard Disk 4 TB | 1 | 9000 | 9000
6 | 8+2 port 10/100/1000 giga POE switch D link or Secue Eye or Similar | 3 | 11900 | 35700
7 | RJ 45 Connector With Crimping etc complete | 40 | 175 | 7000
8 | Enclosure with mounting | 16 | 100 | 1600
9 | Network rack 4u | 1 | 3990 | 3990
10 | Network rack 2u | 2 | 2900 | 5800
11 | Cat 6 cable 305 mtr box | 1 | 8400 | 8400
12 | INSTALLATION TESTING COMMISSIONING | 1 | 16000 | 16000
TOTAL |  |  |  | 179770
If required extra Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) HDMI cable (3mtrs) @ 550/- + GST
4) Conduiting with FR conduit laying of cable @100/- per mtr plus GST

## Putz 122
Sr.No. | Description | Qty | Price | Total
1 | 1 Vostro Desktop | 1 | 42000 | 42000
1 12th Gen Intel(R) Core(TM) i3-12100 processor (4-Core, 12M Cache, 3.3GHz to 4.3GHz)
1 180W Green Mesh TPM
1 8GB, 8Gx1, DDR4, 3200MHz 1 Multimedia Card Reader 3.0 SD
1 256GB M.2 PCIe NVMe Solid State Drive
1 No Optical Drive
1 System Power Cord India 6A
1 Energy Star Label
1 Intel UHD Graphics 730 with shared graphics memory
1 Wireless Driver 1 802.11ac 1x1 WiFi and Bluetooth
1 Windows Driver 1 Dell MS116 Wired Mouse Black
1 Dell Wired Keyboard KB216 Black (English) - US International
1 No Microsoft Office License Included
1 McAfee(R) 30day Trial
1 McAfee(R) Multi Device Security 15 month subscription
Software
1 Windows 11 Home, Single Language English
1 Additional Software
Total |  |  |  | 42000
Components
1 Vostro Desktop 3710
1 12th Gen Intel(R) Core(TM) i3-12100 processor (4-Core, 12M Cache, 3.3GHz to 4.3GHz)
1 180W Green Mesh TPM
1 8GB, 8Gx1, DDR4, 3200MHz 1 Multimedia Card Reader 3.0 SD
1 256GB M.2 PCIe NVMe Solid State Drive
1 No Optical Drive
1 System Power Cord India 6A
1 Energy Star Label
1 Intel UHD Graphics 730 with shared graphics memory
1 Wireless Driver 1 802.11ac 1x1 WiFi and Bluetooth
1 Windows Driver 1 Dell MS116 Wired Mouse Black
1 Dell Wired Keyboard KB216 Black (English) - US International
1 No Microsoft Office License Included
1 McAfee(R) 30day Trial
1 McAfee(R) Multi Device Security 15 month subscription
Software
1 Windows 11 Home, Single Language English

## Intelligent Ideas 201
IP Camera
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Honeywell 2MP Bullet with inbuilt Audio | 1 | 3900 | 3900 | 4900 | I-HIB2PI-UL
2 | Honeywell 2 MP dome with inbuilt Audio | 3 | 3900 | 11700 | 4700 | I-HIE2PI-UL
3 | Honeywell NVR Professional Series 5CH | 1 | 6900 | 6900 | 8820 | I-HNVR-1105
4 | WD Purple Surveillance Hard Disk 1 TB | 1 | 3500 | 3500
5 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500
6 | RJ 45 Connector With Crimping etc complete | 10 | 175 | 1750
7 | Enclosure with mounting | 4 | 100 | 400
8 | INSTALLATION TESTING COMMISSIONING | 1 | 2500 | 2500
TOTAL |  |  |  | 42150
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST

## Vision Designs 202
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Honeywell 2MP IP Bullet with inbuilt Audio | 2 | 3900 | 7800
2 | Honeywell 2MP IP Dome with inbuilt Audio | 6 | 3900 | 23400
3 | Honeywell NVR Professional Series 5CH | 1 | 9600 | 9600 | 11880
3 | WD Purple Surveillance Hard Disk 1` TB | 1 | 4000 | 4000
4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 8700 | 8700
5 | RJ 45 Connector With Crimping etc complete | 18 | 150 | 2700
6 | Enclosure with mounting | 8 | 100 | 800
7 | INSTALLATION TESTING COMMISSIONING | 1 | 3600 | 3600
TOTAL |  |  |  | 60600
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST

## K Amonkar & Associates 203
SR NO | Brand | ITEM DESCRIPTION | QTY | PRICE | Installation Charges | AMOUNT
1 | BOSCH | 6W Superb Quality Ceiling Speaker module | 50 | 950 | 250 | 47750 | 690
2 | BOSCH | TABLE TOP MICROPHONE | 1 | 9900 | 500 | 10400 | 7700
3 | BOSCH | PLENA BOOSTER AMPLIFIER 240W | 1 | 28000 | 2500 | 30500 | 17600
4 | BOSCH | Plena Mixing Amplifier 120W | 1 | 28000 | 2000 | 30000 | 16400
5 | Programnming and Configuration |  | 1 | 5000 |  | 5000
TOTAL | [5 empty] | 123650
Installation will be started only on satisfactory site inspection and cabling check after the release of suppliy PO
47500
12500
|  |  | 60000 |  | k amonkar
SR NO | Brand | ITEM DESCRIPTION | QTY | PRICE | Installation Charges | AMOUNT
1 | BOSCH | 6W Superb Quality Ceiling Speaker module | 50 | 950 | 250 | 60000
2 | BOSCH | TABLE TOP MICROPHONE | 1 | 9900 | 500 | 10400
3 | BOSCH | PLENA BOOSTER AMPLIFIER 240W | 1 | 28000 | 2500 | 30500
4 | BOSCH | Plena Mixing Amplifier 120W | 1 | 28000 | 2000 | 30000
5 | Programnming and Configuration Charges |  | 1 | 5000 |  | 5000
TOTAL | [5 empty] | 135900