## Putz 101
Sr.No. | Description | Qty | Price | Total
1 | 24 port 10/100/1000mbps PoE switch with SFP port | 4 | 49500 | 198000
2 | 24 port 10/100/1000mbps Managed switch with SFP port | 4 | 19800 | 79200
3 | Cat 6 Cable Box | 8 | 7800 | 62400
4 | 12 port LIU | 1 | 3500 | 3500
5 | SC pigtail | 12 | 270 | 3240
6 | Fiber patch cord | 2 | 1250 | 2500
7 | Cat 6 24 port patch panel | 8 | 3500 | 28000
8 | Fiber transceiver 1000Base-LX Single mode 10KM SFP | 2 | 4300 | 8600
9 | Cat 6 Keystone | 170 | 180 | 30600
10 | 1 Meter cat 6 patch cord | 170 | 180 | 30600
11 | 3 Meter cat 6 patch cord | 160 | 180 | 28800
12 | 22U-600*800D Network Rack Netrack Loaded with 2 fan, pdu, cable manege, 20 nos Hardware | 2 | 24900 | 49800
13 | 1x12 Sc Adapter Plate with 6 Adapter | 1 | 280 | 280
14 | Face Plate Dual port | 80 | 120 | 9600
15 | Face Plate Single port | 10 | 120 | 1200
16 | Surface Mount Box | 25 | 110 | 2750
Total |  |  |  | 539070
Installation Charges
Sr.No. | Description | Qty | Price | Total
1 | Laying of Cat 6 Cable in meter | 2400 | 40 | 96000
2 | Fiber Splicing per core | 12 | 650 | 7800
3 | Rack Installation | 2 | 2500 | 5000
4 | Punching of Patch panel | 8 | 4800 | 38400
5 | Punching of I/O | 170 | 350 | 59500
Total |  |  |  | 206700

## Bajkya 102
1 | BMS SYSTEM
Sr.No. | Description | Qty | Uom | Price | Total
A | CENTRAL CONTROL LOACTION
Supplying, Installing, Testing & Commissioning of the Central Control Stations consisting of the following
B | Client workstation as per following specifications Processor 1 x Intel Xeon E5‐1620v4 (4‐core, 3.5GHz, 10M) Chipset‐Intel® C612 Express chipset RAM‐1 x 8GB DDR4‐2400 ECC RDIMM (Total 8GB) (Max 512GB, 08 DIMMs) HDDs‐1 x 1TB SATA Ent 7200 RPM 3.5" ODD‐1 x DVD RW NIC‐Two Onboard Intel® i210‐AT Gigabit (10/100/1000 Mbps) Ethernet ports, GPU‐1x GT 710 (2GB) Audio‐RealTek ALC1150 High Definition Audio Onboard Ports‐1 x Audio, 1x header, 6 x USB 3.0, 2x RJ45 LAN ports, 1 PS/2 Chassis‐Mid‐Tower (4x 3.5" internal SAS/SATA HDD Bays) P. Supply‐900W High Efficiency Power Supply Gold Level Certified OS‐1 x Window 10 Prof All necessary approvals as required at the discretion & final directions of Consultants/ Owner. 3 year Comprehensive on‐site warranty | 1 | Each | 375000 | 375000
C | Integrated Building Management Software which is Open to Integrate with DDC Controllers (as per list of approved makes), Middlewares, Third Party Systems etc using any or all of the Open Protocols Like Bacnet, Modbus, and not Limited to the above. The Software Must be more of a Framework with an Enterprise Architecture and a Robust Database. The IBMS Software must have additional 25% License Cost Accommodation above and beyond the IO Summary. | 1 | Set | 780000 | 780000
D | Deployment of Middleware (Hardware) at the Field Level to Integrate with Third Party Systems using Native Protocols. The Middleware should not be a Router/Bridge/Convertor which Cannot Store or Process any Logic. The Middleware must be Intelligent Enough to Act as a Redundant Layer at the Field Level to Showcase Grpahics, Trends and Logic for the Points Mapped on that Middleware. The Middleware Must be a Single Board Computer having Capability to Connect to Multiple Protocols like Bacnet, Modbus, LonWorks, Cbus etc. Following 3rd party equipment's with all necessary accessories, firmware, software patches, drivers, license to complete the package | 2 | Set | 567000 | 1134000
Energy Meters
STP
DG Set
Fire Alarm System
UPS
Lighting Management System
VRF
Spare
E | Brand agnostic, open platform, seamless integration with any make of BMS software, customized analytical tool having Rule Engine, dashboards, reports etc. The software should be able to reside in the customer server. The Analytical Edge Server will be a fanless pc with small form factor for remote support and data sharing 1. Base Analytical software for 500 IO points 2. 05 nos. Rules, 05 nos. Dashboards, 05 nos. Reports to be developed as per clients requirement 3. The above unique tool should provide alerts from safety comfort and ultimately goal of saving energy 4. The software should have good local support for few changes to be incorporated as per clients requirement | 1 | Set | 441000 | 441000
2 | Water leak detection system Supply, Installation,Testing Commissioning of WLD System comprising of following:
Sr.No. | Description | Qty | UoM | Price | Total
A | Water Leak Cable with end connections 10 Mtrs Length | 10 | Each | 1200 | 12000
B | Electronic Sounder 85db for water leak detection | 2 | Each | 4050 | 8100
C | Microprocessor based Water Leak Detection 6 zone Panel with LCD Display. It shall give A.C. Input to WLD cable to avoid oxidation over a period of time.(refer WLD cable technical specification). It shall have zonewise potential free relay output, one common alarm output and one common hooter output. | 2 | Each | 24000 | 48000
D | Supply and laying of multi stranded copper conductors cable, twisted, shielded, FRLS sheathed, flexible steel braided control cables with generally as specified and shown in drawings and shall include the terminations as well on both the ends
| 2C X 1.0 sqmm YRY | 100 | Mtr. | 130 | 13000
| 4C X 1.0 sqmm YRY | 320 | Mtr. | 180 | 57600
| 8C X 1.0 sqmm YRY | 320 | Mtr. | 440 | 140800
3 | FIELD DEVICES
Sr.No. | Description | Qty | UoM | Price | Total
A | TCP/IP based 32 bit DDC controller with in‐built high speed processor, drivers, RTC, with backplate & housing including 100% controller wiring, transformer, small light, 5 A switch socket etc to make the system complete. Each DDC panel not to be loaded more than 50 points
| FF system | 1 | Each
| Tank Level Monitoring | 1 | Each
| HT/LT system | 2 | Each
| Power distribution panel | 6 | Each
B | Supply Installation Testing & commissioning of field devices complete with necessary accessories. Civil/piping related work will be in the respective contractors scope
| Outdoor Temperature + RH sensor + CO2 | 1 | Each | 90000 | 90000
| Space Temperature Sensor | 8 | Each | 15000 | 120000
| Ultrasonic Level transmitter ( 1.7 mts Tank Height) | 3 | Each | 50000 | 150000
| Outside Daylight Sensor | 1 | Each | 11000 | 11000
| Flow Switches for FF Hydrant status | 1 | Each | 15000 | 15000 | 3437400
4 | ACCESS CONTROL
Sr No | Item Description | Qty | UoM | Unit Rate | Total
A | Supply installing testing & commissioning of Include 1 MAC and 64 doors, 1000 cardholders, Access area balancing, N‐persons authorization, Visitor management, Interface Import/Export interface, Routing, Remote door unlock, Card personalization, Default startup configuration for access control, Include 20 video channel integration for 20 doors. | 1 | Lot | 397500 | 397500
B | Supply installing testing & commissioning of Client workstation as per following specifications Processor 1 x Intel Xeon E5‐1620v4 (4‐core, 3.5GHz, 10M) Chipset‐Intel® C612 Express chipset RAM‐1 x 8GB DDR4‐2400 ECC RDIMM (Total 8GB) (Max 512GB, 08 DIMMs) HDDs‐1 x 1TB SATA Ent 7200 RPM 3.5 ODD‐1 x DVD RW RAID‐Onboard SATA3 (6Gbps) via C612 controller should support RAID 0, 1, 10 NIC‐Two Onboard Intel® i210‐AT Gigabit (10/100/1000 Mbps) Ethernet ports GPU‐1x GT 710 (2GB) Audio‐RealTek ALC1150 High Definition Audio Onboard Exp. Slots‐4 PCI‐E 3.0 x16 (run at 16/16/NA/8 or 16/8/8/8), 2 PCI‐E 2.0 x1 (in x4) Ports‐1 x Audio, 1x header, 6 x USB 3.0, 2x RJ45 LAN ports, 1 PS/2 Chassis‐Mid‐Tower (4x 3.5" internal SAS/SATA HDD Bays) P. Supply‐900W High Efficiency Power Supply Gold Level Certified OS‐1 x Window 10 Prof All necessary approvals as required at the discretion & final directions of Consultants/ Owner. 3 year Comprehensive on‐site warranty" | 1 | Each | 279000 | 279000
C | Supply installing testing & commissioning of Intelligent access Controller; 2GB Flash memory; LCD Display; 8 Inputs & 8 Outputs; 8 Wiegand Readers Designed for installing One AMC2, a power supply (APS PSU 60) and two batteries A power supply unit with an integrated battery charging device | 2 | Each | 89400 | 178800
D | Supply installing testing & commissioning of Mifare Card Reader | 16 | Each | 9750 | 156000
E | Supply installing testing & commissioning of Biometric reader for server room and time and attendance | 4 | Each | 53900 | 215600
F | Supply installing testing & commissioning of Contactless Smart Card, 2k bit with 2 application areas | 200 | Each | 360 | 72000
G | Supply installing testing & commissioning of 600# magnetic locks with inbuilt contact | 16 | Each | 6000 | 96000
H | Supply installing testing & commissioning of Recessed type Magnetic Contacts | 16 | Each | 1500 | 24000
I | Supply installing testing & commissioning of Green color emergency break glass Unit | 16 | Each | 3750 | 60000
J | Supply installing testing & commissioning of emergency exit push button at reception table | 4 | Each | 4125 | 16500
Total |  |  |  |  | 4890900
Payment Terms | *** For Supply--50% Advance & 50% against Readiness of Material
Project Lead Time | Delivery-- Material Supply--- 8-10 Weeks & Engineering Services-- 4 Weeks
Other T&C | * Civil work including Chipping, Core Cutting, Digging, Soil Excavation, Painting, Etc shall be in Customer Scope. * Fabrication works if necessary shall be in Customer scope. * Necessary Cable tray supply & Its Installation in Customer scope.
Other T&C | UPS to be arranged near Equipment/Instrument/System by Customer.
Delays | (A) Force Majeure--Except for payment obligations, neither party will be liable to the other for any failure to meet its obligations due to any cause beyond the non-performing party's reasonable control. If the inability to perform continues for longer than 90 days, either party may terminate this Agreement by providing written notice to the other party and Buyer will pay J P Techatronics for products delivered and services performed prior to termination. Force majeure events may include but are not limited to: (1) government embargoes, (2) blockades, (3) seizure or freeze of assets, (4) delays or refusals to grant an export license or the suspension or revocation thereof, (5) any other acts of any government that would limit the ability for contract performance, (6) fires, earthquakes, floods, severe weather conditions, (7) any other acts of God, (8) quarantines or regional medical crises, (9) labor strikes or lockouts, (10) riots, strife, insurrection, civil disobedience, armed conflict, terrorism or war, declared or not (or impending threat of any of the foregoing, if such threat might reasonably be expected to cause injury to people or property), (11) shortages or inability to obtain materials or components and (12) inability or refusal by Buyer's directed third party suppliers to provide J P Techatronics parts, services, manuals, or other information necessary to the goods or services to be provided by J P Techatronics under this Agreement. (B) Order Adjustment-- If a force majeure event causes a delay, then the date of performance will be extended by the period of time that the non-performing party is actually delayed or for any other period as the parties may agree in writing.
INSPECTION AND ACCEPTANCE | Unless other acceptance criterion has been agreed to by the Parties under this Agreement the Buyer will inspect Equipment within a reasonable period after delivery not to exceed 15 calendar days. Equipment will be presumed accepted unless J P Techatronics receives written notice of rejection explaining the basis for rejection within the same timeframe. J P Techatronics will have a reasonable opportunity to repair or replace rejected Equipment, at its option. J P Techatronics assumes shipping costs in an amount not to exceed normal surface shipping charges to J P Techatronics's designated facility for the return of properly rejected Equipment. Following initial delivery, the party initiating shipment will bear the risk of loss or damage to Equipment in transit. If J P Techatronics reasonably determines that rejection was improper, Buyer will be responsible for all expenses caused by the improper rejection.

## Riva Resort 103
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Identix K90 Biometric Fingerprint And Card Reader Time & Attendance With Access Control System Push Data Technology & Warranty One Year | 1 | 14990 | 14990
2 | Battery Backup with 7 AH Battery Backup Kit | 1 | 2500 | 2500
3 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 22490
GST 9% |  |  |  | 2024.1
GST 9% |  |  |  | 2024.1
Grand Total |  |  |  | 26538.2

## Riva Resort 104
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | IDEMIA Morpho Biometric Reader with standard software, 500 users | 1 | 69600 | 69600
2 | INSTALLATION TESTING COMMISSIONING | 1 | 5000 | 5000
TOTAL |  |  |  | 74600

## Vaibhav 105
Option 1
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua 5 MP Bullet Camera, 3.6mm | 3 | 10120 | 30360 | 10120
2 | Dahua 5 MPDome Camera | 1 | 10330 | 10330 | 10330
3 | Dahua 16 Ch NVR | 1 | 15420 | 15420 | 15420
4 | POE Switch 08 Port 1/1000 MBPS) GIGA | 1 | 11500 | 11500
5 | WD Purple Surveillance Hard Disk 4 TB | 1 | 11900 | 11900 | 11900
6 | Network Rack 4 U | 1 | 3990 | 3990
7 | RJ 45 Connector With Crimping etc complete | 1 | 140 | 140
8 | CAT 6 Cable per mtr | 150 | 40 | 6000
9 | CAT Cable Laying with Covering PVC | 120 | 60 | 7200
10 | UPS 1 KVA | 1 | 5000 | 5000
11 | Spike Guard | 1 | 600 | 600
12 | INSTALLATION TESTING COMMISSIONING | 1 | 4800 | 4800
TOTAL |  |  |  | 107240
Option 2
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Dahua 5 MP Bullet Camera, 3.6mm | 5 | 10120 | 50600
2 | Dahua 5 MPDome Camera | 1 | 10330 | 10330
3 | Dahua 16 Ch NVR | 1 | 15420 | 15420
4 | POE Switch 08 Port 1/1000 MBPS) GIGA | 1 | 11500 | 11500
5 | WD Purple Surveillance Hard Disk 4 TB | 1 | 11900 | 11900
6 | Network Rack 4 U | 1 | 3990 | 3990
7 | RJ 45 Connector With Crimping etc complete | 1 | 140 | 140
8 | CAT 6 Cable per mtr | 200 | 40 | 8000
9 | CAT Cable Laying with Covering PVC | 160 | 60 | 9600
10 | UPS 1 KVA | 1 | 5000 | 5000
11 | Spike Guard | 1 | 600 | 600
12 | INSTALLATION TESTING COMMISSIONING | 1 | 4800 | 4800
TOTAL |  |  |  | 131880
If required extra CAT 6 Cable per mtr to be charged @ 40/- per mtr + GST
If required extra CAT Cable Laying with Covering PVC to be charged @ 60/- per mtr + GST
If required:-
1)Display 32'' @ 32990 + GST
2) HDMI cable (3mtrs) @ 550/- + GST

## R K Engineering Works 106
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 4MP IP Starlight Fixed Lens Bullet ,with inbuilt SD card Slot POE, IP67 Tripwire/Perimeter | 2 | 8900 | 17800 |  | 9320 | I-HIB4PI-LS
2 | Honeywell NVR Professional Series 5CH | 1 | 8820 | 8820 | 8820 |  | I-HNVR-1105
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500
5 | HDMI cable (3mtrs) | 1 | 550 | 550
6 | RJ 45 Connector With Crimping etc complete | 6 | 175 | 1050
7 | INSTALLATION TESTING COMMISSIONING | 1 | 4000 | 4000
TOTAL |  |  |  | 49220
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
In lieu of
1) Honeywell 4 MP verifocal Bullet with inbuilt Audio 2.8 -12 MM verifocal lens Tripwire/Perimeter @17360/- + GST | [5 empty] | 17360 | I-HIB5PI-VS

## Raj Housing 107
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | Bosh 12/30W Wooden Cabinet Speaker | 4 | 4500 | 18000
2 | Plana 240W Mixing Amplifier | 1 | 48000 | 48000
3 | Bosh or Similar Table Micro Phone | 1 | 6900 | 6900
4 | INSTALLATION TESTING COMMISSIONING | 1 | 6000 | 6000
TOTAL |  |  |  | 78900
Audio cabling to be charged as actualls @ 100 per mtr + GST

## Arus Turkney Projects PvtLtd108
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1 | KNX Messung 4 fold analog 0-10V dimmer | 2 | 45000 | 90000
2 | KNX 16Ch Relay | 1 | 63000 | 63000
3 | Honeywell Motion Sensor | 2 | 8700 | 17400
4 | Zennio 11 zone touch keypad | 1 | 79000 | 79000
5 | Gateway for Zennio touch keypad | 1 | 45000 | 45000
6 | 640mA KNX Power Supply | 1 | 39900 | 39900
7 | KNX Programming Charges | 1 | 45000 | 45000
8 | KNX Interfacing Charges | 1 | 45000 | 45000
9 | INSTALLATION TESTING COMMISSIONING | 1 | 25000 | 25000
TOTAL |  |  |  | 449300
KNX Cable to be charged as actuals @ 120/- + GST

## Patrick 109
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Dahua/W Box 2 MP IP Bullet Camera | 10 | 3990 | 39900 |  | 4300
2 | Dahua/ Wbox 16 CH NVR Professional Series | 1 | 15900 | 15900 | 13570
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Switch D link or Secue Eye or Similar | 1 | 9900 | 9900
5 | RJ 45 Connector With Crimping etc complete | 22 | 175 | 3850
6 | INSTALLATION TESTING COMMISSIONING | 1 | 9900 | 9900
TOTAL |  |  |  | 84950
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Dahua/ Wbox 4MP IP Bullet Camera @6260/- + GST | [5 empty] | 6260

## R K Enginerring Works 110
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Dahua 2 MP IP Bullet Camera | 2 | 4300 | 8600
2 | Dahua 4 CH NVR Professional Series | 1 | 5860 | 5860 | 5860
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Switch D link or Secue Eye or Similar | 1 | 9500 | 9500
5 | RJ 45 Connector With Crimping etc complete | 6 | 175 | 1050
6 | INSTALLATION TESTING COMMISSIONING | 1 | 4000 | 4000
TOTAL |  |  |  | 34510
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Dahua 4MP IP Bullet Camera @6260/- + GST

## Patrik 111
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | Honeywell 2MP IP Fixed Lens Bullet Camera with inbuilt,SD Card Slot | 10 | 6780 | 67800 | 6780
2 | Honeywell NVR Professional Series 5CH | 1 | 11880 | 11880 | 11880
3 | WD Purple Surveillance Hard Disk 2 TB | 1 | 5500 | 5500
4 | 8 Port POE Giga Switch D link or Secue Eye or Similar | 1 | 11500 | 11500
6 | RJ 45 Connector With Crimping etc complete | 22 | 175 | 3850
7 | INSTALLATION TESTING COMMISSIONING | 1 | 9900 | 9900
TOTAL |  |  |  | 110430
Supply and laying of cat 6 cables through PVC pipe / casing caping to be chrarged as actualls @ 95/- per mtr + GST
If required:-
1)Display 19'' @7900 + GST
2) Spike Board @ 600/- + GST
3) Network Rack @ 2900/- + GST
4) HDMI cable (3mtrs) @ 550/- + GST
In lieu of
1) Honeywell 4MP IP Starlight Fixed Lens Bullet ,with inbuilt SD card Slot POE, IP67 Tripwire/Perimeter @ 8900/-+GST

## Patrik 112
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | W Box / Dahua 2MP Bullet Camera | 2 | 1900 | 3800
2* | Dahua/W Box 4 CH DVR, Professional series | 1 | 5950 | 5950
3 | BNC Connector | 4 | 60 | 240
4 | Power Connector | 2 | 45 | 90
5 | Power Supply | 1 | 900 | 900
6 | WD Purple Surveillance Hard Disk 2 TB | 1 | 4990 | 4990
7 | Enclosure with mounting | 2 | 100 | 200
8 | INSTALLATION TESTING COMMISSIONING | 1 | 1500 | 1500
TOTAL |  |  |  | 7920
2500

## Patrik 113
SR NO | ITEM DESCRIPTION | QTY | PRICE | AMOUNT
1* | W Box / Dahua 2MP Bullet Camera | 2 | 1900 | 3800
2* | Dahua/W Box 4 CH DVR, Professional series | 1 | 5950 | 5950
3 | BNC Connector | 4 | 60 | 240
4 | Power Connector | 2 | 45 | 90
5 | Power Supply | 1 | 900 | 900
6 | WD Purple Surveillance Hard Disk 2 TB | 1 | 4990 | 4990
7 | Enclosure with mounting | 2 | 100 | 200
8 | INSTALLATION TESTING COMMISSIONING | 1 | 1500 | 1500
If required:-
1) HDMI cable (3mtrs) @ 550/- + GST
2) Network Rack @ 2500/- + GST
3) Spike Board @ 600/- + GST